## CheckList
Name of the Industry | Divis Laboratories Limited Unit-3,Ontimamidi | Note: Items in RED are Must fields | Note: The Consent to Operate Letter from CPCB/SPCB with the parameters to be monitored , standards and threshold has to be attached with this sheet.
Industry Category (17 Category Name) | Drugs and Pharmaceuticals
Industry Type (RED/YELLOW/ORANGE/GREEN) | Red
MIS ID ( Industry Consent ID) | APPCB/VSP/VSP/12368/HO/CFO/2021.
Site Address | Divis Laboratories Limited Unit-3
City | Kakinada
District | Kakinada
State | Andhra Pradesh
Pin Code | 533408
Consent to operate(CTO)(Please sent along with this Sheet) | ---
Name of Analyzer Software Installed on PC? | Glens
Site Contact Details
Sr. No | Contact Person Name | Designation | Mobile.No | Email
1 | S balaji | General Manager | 8978799449 | sbalaji@divislabs.com
2 | V Naga Sekher | General Manager | 9133555760 | vns@divislabs.com
Parameter Details
| Parameter 1 | Parameter 2 | Parameter 3 | Parameter 4 | Parameter 5 | Parameter 6
Name of Parameter Monitored (PM, NOx,SO2) | PM-10 | PM-2.5 | SO2 | Nox | NH3 | VOC
Emission / Ambient / Effluent? | Ambient | Ambient | Ambient | Ambient | Ambient | Ambient
Location (where monitored or monitoring station name e.g. CEMENT_MILL, CDU_STACK) | AAQMS-02 | AAQMS-02 | AAQMS-02 | AAQMS-02 | AAQMS-02 | AAQMS-02
Process Attached (According to Consent Order) | Ambient | Ambient | Ambient | Ambient | Ambient | Ambient
Analyser Make | Metone Instuments | Metone instruments | acoem | acoem | acoem | HONEY WELL
Analyser Model No | BAM-1020 | BAM-1020 | Serious 50 | Serious 40 | Serious 40 | Rae guard 2 pid
Devide ID(Analyzer Serial Tag Number) | IN24077 | IN24074 | 24-0719 | 23-1165 | 23-1165 | D0310003CS
Certified Agency (Ex: TUV/CE)
Measurement Range | 0-1000 | 0-1000 | 0-1000 | 0-1000 | 0-1000 | 0.01 to 100
Measurement Unit | µg/m3 | µg/m3 | µg/m3 | µg/m3 | µg/m3 | ppm
Connection Type (RS232/RS485/Modbus/4-20 mA /0-10 V) | RS232 | RS232 | RS232 | RS232 | RS232 | RS232
PORT,IP or Channel Details (COM1, 192.168.1.1:502, etc.)
Camera RTSP URL/IP LINK (For Effluents)
Camera Make & Model
Camera User name & password
Camera RTSP port : 554 enabled
Principle of Measurement | Carbon 14, Beta Ray Attenuation Method | Carbon 14, Beta Ray Attenuation Method | Fluorescence Spectroscopy Principles. | Chemiluminescence Detection Method | Chemiluminescence Detection Method | photoionization Detector (PID)
Stack Height (unit)
Stack Dia (unit)
Stack Velocity (unit)
Flue gas discharge rate m3/hr
Capacity Tonnes per hour(for Boiler stacks)
Type of boiler
Boiler Fuel
Threshold set by CPCB / SPCB with Unit (e.g. Ambient PM10 is 100 ug/m3) | 100 | 60 | 80 | 80 | 400